SEMESTER END REGULAR EXAMINATIONS (AR21/23), July/Aug. – 2026

| P.G. | EEE |  | Degree | Master of Technology |  |
| --- | --- | --- | --- | --- | --- |
| Academic Year | 2025-26 |  | Sem. | 2nd |  |
| Course Code | 21PID012 | Course Title |  |  |  |
|  |  | PLCs & SCADA |  |  |  |
| Duration | 3 Hours | Maximum Marks |  |  | 70 (SEVENTY) |

SECTION-I

7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | COs |
| --- | --- | --- | --- |
| a | What are the components of a PLC? | Remember | 1 |
| b | Define PLC. | Remember | 1 |
| c | What are logic instructions in a PLC? | Remember | 3 |
| d | State the purpose of the PLC power supply module | Remember | 3 |
| e | What is Function Block Diagram (FBD)? | Remember | 4 |
| f | Define rack configuration. | Remember | 4 |
| g | What is alarm management? | Remember | 6 |

SECTION-II

4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | COs | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | Compare the PLC and personal computer with regard to: a. Operating environment b. Method of programming c. Execution of program d. Maintenance | Understand | 1 | 8M |
|  |  | (b) |  | Explain binary and hexadecimal conversions with suitable examples and discuss their importance in PLC programming. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Explain PLC input/output addressing with examples. | Understand | 1 | 8M |
|  |  | (b) |  | Explain the functions and features of Programmable Logic Controllers (PLCs). | Understand | 2 | 6M |
| 4 |  | (a) |  | Explain the complete PLC hardware architecture with neat diagrams. | Understand | 3 | 8M |
|  |  | (b) |  | Explain PC-to-PLC interfacing. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Discuss different PLC communication modules and their applications in industrial automation. |  | Understand | 3 | 8M |
|  |  | (b) | Explain Remote I/O and redundancy in PLC systems |  | Understand | 2 | 6M |
| 6 |  | (a) | Explain all IEC PLC programming languages (LD, FBD, IL, ST, and SFC) with suitable examples. |  | Understand | 4 | 8M |
|  |  | (b) | Explain PLC operating modes (RUN, STANDBY, and MONITOR). |  | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Explain PID Function Blocks and discuss their role in PLC programming. | Understand | 4 | 8M |
|  |  | (b) |  | Explain simulation, testing, online monitoring, debugging, and diagnostic features of PLCs. | Understand | 5 | 6M |
| 8 |  | (a) |  | Explain the SCADA architecture with a neat block diagram and discuss the function of each component. | Understand | 6 | 8M |
|  |  | (b) |  | Explain alarms, trends, bar graphs, and historical data management in SCADA. | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | Explain the development of a SCADA application, including database creation, operating screens, application programming, and runtime execution. | Understand | 6 | 8M |
|  | (b) |  |  | Explain communication tables and communication protocols used in SCADA. | Understand | 5 | 6M |

***********