SEMESTER END REGULAR EXAMINATIONS (AR21), AUGUST – 2026

| P.G. | EEE-PID |  | Degree | Master of Technology |  |
| --- | --- | --- | --- | --- | --- |
| Academic Year | 2025-26 |  | Sem. | 2nd |  |
| Course Code | 21PID013 | Course Title: |  |  |  |
|  |  | HVDC Transmission(Elective-V) |  |  |  |
| Duration | 3 Hours | Maximum Marks |  |  | 70 (SEVENTY) |

SECTION-I

7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | COs |
| --- | --- | --- | --- |
| a | List out advantages of HVDC transmission. | Remember | 1 |
| b | Classify HVDC Links. | Remember | 1 |
| c | Define constant current control. | Remember | 3 |
| d | List any two merits of Higher pulse number. | Remember | 3 |
| e | Define MTDC system. | Remember | 4 |
| f | Mention Purpose of DC breaker. | Remember | 4 |
| g | Define characteristic harmonics. | Remember | 6 |

SECTION-II

4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) | RBT Level | COs | Marks |
| --- | --- | --- | --- | --- | --- |
| 2 | (a) | Compare HVAC and HVDC transmission. | Understand | 1 | 8M |
|  | (b) | Explain analysis of Graetz circuit with neat diagram. | Understand | 2 | 6M |
| OR |  |  |  |  |  |
| 3 | (a) | Explain economics, terminal equipment of HVDC system. | Understand | 1 | 8M |
|  | (b) | Explain 12 pulse converter configuration with neat diagram. | Understand | 2 | 6M |
| 4 | (a) | Explain different types of reactive power sources. | Understand | 3 | 8M |
|  | (b) | Explain constant current and extinction angle control. | Understand | 2 | 6M |
| OR |  |  |  |  |  |
| 5 | (a) | Explain voltage interaction and harmonic instability. | Understand | 3 | 8M |
|  | (b) | Explain alternate control strategies. | Understand | 2 | 6M |
| 6 | (a) | Explain series MTDC systems with neat diagram. | Understand | 4 | 8M |
|  | (b) | Explain protection against over current of converter station. | Understand | 5 | 6M |
| OR |  |  |  |  |  |
| 7 | (a) | Explain the parallel connections of MTDC systems with neat diagram. | Understand | 4 | 8M |
|  | (b) | Explain overvoltage protection of converter station. | Understand | 5 | 6M |
| 8 | (a) | Explain non-characteristic harmonics and adverse effects of harmonics in HVDC system. | Understand | 6 | 8M |
|  | (b) | Explain the necessity of smoothing reactor in a HVDC system and write the functions of it | Understand | 5 | 6M |
| OR |  |  |  |  |  |
| 9 | (a) | Explain design of Single tuned filters. | Understand | 6 | 8M |
|  | (b) | Explain DC breakers and radio interference. | Understand | 5 | 6M |

***********