SEMESTER END SUPPLEMENTARY EXAMINATIONS (AR21), Feb – 2026

| U.G. | All branches |  | Degree | Bachelor of Technology |  |
| --- | --- | --- | --- | --- | --- |
| Academic Year | 2025-26 |  | Sem. | 5 |  |
| Course Code | 21EE002 | Course Title |  |  |  |
|  |  | RENEWABLE ENERGY SOURCES |  |  |  |
| Duration | 3 Hours | Maximum Marks |  |  | 70 (Seventy) |

SECTION-I

7 x 2 = 14 Marks

| 1 | Questions (a to g) | RBT Level | COs |
| --- | --- | --- | --- |
| a | Define direct and diffuse radiations | Remember | 1 |
| b | List any four applications of solar energy. | Remember | 1 |
| c | Write mathematical relation for Maximum power generation of wind energy | Remember | 3 |
| d | Define Betz criteria. | Remember | 3 |
| e | List out types of wells in geo thermal system. | Remember | 4 |
| f | List out Geo-Thermal resources. | Remember | 4 |
| g | Define grid and microgrid. | Remember | 6 |

SECTION-II

4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | COs | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | Explain the operation of flat plate collectors with neat sketch | Understand | 1 | 8M |
|  |  | (b) |  | Compare Horizontal Axis wind turbine and vertical axis wind turbine | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Explain PV cell model and characteristics with neat sketch | Understand | 1 | 8M |
|  |  | (b) |  | Prove that the wind turbine extracts not more than 59.3% of wind energy. | Apply | 2 | 6M |
| 4 |  | (a) |  | Classify solar radiation measuring instruments and explain any one instrument with neat sketch. | Understand | 3 | 8M |
|  |  | (b) |  | Explain the working of fixed dome biogas digester with neat sketch. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Explain Maximum power point tracking method with neat flow chat. |  | Understand | 3 | 8M |
|  |  | (b) | Explain the working of floating dome biogas digester with neat sketch. |  | Understand | 2 | 6M |
| 6 |  | (a) | Explain the working of Vapour dominated system with neat sketch. |  | Understand | 4 | 8M |
|  |  | (b) | Explain double basin tidal energy conversation system with neat sketch. |  | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Explain the working of hot dry rock system with neat sketch. | Understand | 4 | 8M |
|  |  | (b) |  | Explain the working of MHD system with neat sketch. | Understand | 5 | 6M |
| 8 |  | (a) |  | Explain the Grid connected and Islanded mode of operation in Micro-grid with neat sketch. | Understand | 6 | 8M |
|  |  | (b) |  | Explain the working of hydrogen fuel cell with neat diagram. | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | Explain the AC and DC Micro grid with proper block diagram | Understand | 6 | 8M |
|  | (b) |  |  | Explain the operation of closed cycle OTEC Generating system with neat sketch. | Understand | 5 | 6M |

***********