SEMESTER END REGULAR EXAMINATIONS (AR21), March – 2026

| P.G. | EEE(PID) |  | Degree | Master of Technology |  |
| --- | --- | --- | --- | --- | --- |
| Academic Year | 2025-26 |  | Sem. | 1st |  |
| Course Code | 21PID003 | Course Title |  |  |  |
|  |  | Power Electronic Applications to Power Systems |  |  |  |
| Duration | 3 Hours | Maximum Marks |  |  | 70 (SEVENTY) |

SECTION-I

7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | COs |
| --- | --- | --- | --- |
| a | List any two factors affecting transmission line loading capability. | Remember | 1 |
| b | Write the controllable parameters in power systems. | Remember | 1 |
| c | List any two objectives of series compensation. | Remember | 3 |
| d | List any four merits of series compensation. | Remember | 3 |
| e | How does voltage regulator improve voltage profile? | Remember | 4 |
| f | List any two application of regulators. | Remember | 4 |
| g | Define switching frequency in PWM techniques. | Remember | 6 |

SECTION-II

4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | COs | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | Explain the concept of power flow in parallel paths for any two cases. | Understand | 1 | 8M |
|  |  | (b) |  | Explain the working principle of Thyristor Controlled Reactor (TCR) with neat diagram. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Explain in detail about dynamic stability aspects of simple transmission systems. | Understand | 1 | 8M |
|  |  | (b) |  | Compare STATCOM and SVC with their operation and characteristics | Understand | 2 | 6M |
| 4 |  | (a) |  | Explain the working principle of Gate Controlled Series Capacitor (GCSC). | Understand | 3 | 8M |
|  |  | (b) |  | Explain the advantages of STATCOM over conventional compensators. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Explain how series compensation increases power transfer capability of transmission lines. |  | Understand | 3 | 8M |
|  |  | (b) | Explain the operating characteristics of TSC-TCR compensator. |  | Understand | 2 | 6M |
| 6 |  | (a) | Compare thyristor based and converter based phase angle regulators. |  | Understand | 4 | 8M |
|  |  | (b) | Explain how UPFC controls active and reactive power. |  | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Explain the working principle of Thyristor Controlled Phase Angle Regulator (TCPAR) with neat diagram. | Understand | 4 | 8M |
|  |  | (b) |  | Explain control capabilities of UPFC in power systems. | Understand | 5 | 6M |
| 8 |  | (a) |  | Explain Harmonic Elimination PWM technique with theory and implementation issues. | Understand | 6 | 8M |
|  |  | (b) |  | Compare UPFC with other FACTS controllers. | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | Explain the functional control of shunt and series converters. | Understand | 6 | 8M |
|  | (b) |  |  | Explain Unified Power Flow Controller (UPFC) with neat diagram. | Understand | 5 | 6M |

***********