SEMESTER END SUPPLYMENTARY EXAMINATIONS (AR21), MAY – 2026

| U.G. | COMMON TO ALL |  | Degree | Bachelor of Technology |  |
| --- | --- | --- | --- | --- | --- |
| Academic Year | 2025-26 |  | Sem. | 6Th |  |
| Course Code | 21EE002 | Course Title |  |  |  |
|  |  | Renewable Energy Sources |  |  |  |
| Duration | 3 Hours | Maximum Marks |  |  | 70 (Seventy) |

SECTION-I  7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | COs |
| --- | --- | --- | --- |
| a | Name two common sources of renewable energy. | Remember | 1 |
| b | What materials are commonly used in PV cells? | Remember | 1 |
| c | List the main components of biogas. | Remember | 3 |
| d | Name any two advantages of horizontal axis windmills. | Remember | 3 |
| e | Write the two difference between vapor-dominated and liquid-dominated geothermal reservoirs. | Remember | 4 |
| f | List the two factors influence the efficiency of tidal energy systems. | Remember | 4 |
| g | Write any two applications of BESS in the electrical grid. | Remember | 6 |

SECTION-II   4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | COs | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | Explicate the impact of temperature and shading on the performance of PV cells. | Understand | 1 | 7M |
|  |  | (b) |  | Evaluate the potential impacts of widespread adoption of renewable energy on global energy markets. | Understand | 2 | 7M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Analyse the trade-offs between different types of concentrating collectors in terms of efficiency, cost, and practicality. | Understand | 1 | 7M |
|  |  | (b) |  | Illustrate the terrestrial and extra-terrestrial solar radiation | Understand | 2 | 7M |
| 4 |  | (a) |  | Compare the efficiency and suitability of horizontal axis windmills versus vertical axis windmills for various geographic and climatic conditions. | Understand | 3 | 7M |
|  |  | (b) |  | Discuss the role of wind and biomass energy in reducing greenhouse gas emissions. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Elucidate the function of each component of a Wind Energy Conversion System (WECS). |  | Understand | 3 | 7M |
|  |  | (b) | Compare the efficiency and environmental impact of anaerobic and aerobic digestion processes. With neat diagram |  | Understand | 2 | 7M |
| 6 |  | (a) | Describe the open cycle OTEC power plant and give the status of OTEC plants in India. |  | Understand | 4 | 7M |
|  |  | (b) | Discuss the methods of harnessing energy from liquid-dominated geothermal reservoirs. |  | Understand | 5 | 7M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Explain the working of single basin tidal power plant with neat sketch | Understand | 4 | 7M |
|  |  | (b) |  | Compare the advantages and disadvantages of hydrothermal and hot dry rock geothermal resources. | Understand | 5 | 7M |
| 8 |  | (a) |  | Describe the classification of fuel cell. With a neat sketch explain the working of fuel cell. | Understand | 6 | 7M |
|  |  | (b) |  | Discuss the benefits of micro grids for energy resilience and reliability. | Understand | 5 | 7M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | Explain Distributed Energy Systems in detail | Understand | 6 | 7M |
|  | (b) |  |  | Explain the grid connected mode Island mode in detail | Understand | 5 | 7M |

***********