SEMESTER END SUPPLEMENTARY EXAMINATIONS (AR21), May – 2026

| U.G. | Common to all |  | Degree | Bachelor of Technology |  |
| --- | --- | --- | --- | --- | --- |
| Academic Year | 2025-2026 |  | Sem. | 6th |  |
| Course Code | 21EE001 | Course Title |  |  |  |
|  |  | Electrical Installation, Safety and Auditing |  |  |  |
| Duration | 3 Hours | Maximum Marks |  |  | 70 (SEVENTY) |

SECTION-I

7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | COs |
| --- | --- | --- | --- |
| a | What is meant by contingencies in electrical installation estimation? | Remember | 1 |
| b | Define tender document. | Remember | 1 |
| c | List two safety measures used in substations. | Remember | 3 |
| d | List any two statutory provisions for electrical safety. | Remember | 3 |
| e | Define peak clipping and valley filling. | Remember | 4 |
| f | What is a demand side management (DSM) technique? | Remember | 4 |
| g | Define payback period. | Remember | 6 |

SECTION-II

4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | COs | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | Illustrate the step-by-step estimation for a power wiring system in an industrial building. | Understand | 1 | 8M |
|  |  | (b) |  | Describe the various types of wiring systems, highlighting their applications and limitations. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Explain the procedure for preparing an estimate for a single-store yard building. | Understand | 1 | 8M |
|  |  | (b) |  | Describe the selection criteria for wiring accessories and protective devices. | Understand | 2 | 6M |
| 4 |  | (a) |  | Explain the safety measures and protective tools and equipment that are essential for workers in an electrical substation. | Understand | 3 | 8M |
|  |  | (b) |  | Describe the statutory provisions and Indian Standards that govern electrical installations, particularly focusing on the safety aspects for overhead lines and other installations | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Write a detailed note on safe practices in hazardous atmospheres. |  | Understand | 3 | 8M |
|  |  | (b) | Discuss the importance of energy conservation and how it ties in with electrical safety. |  | Understand | 2 | 6M |
| 6 |  | (a) | Explain the steps involved in conducting an energy audit. |  | Understand | 4 | 8M |
|  |  | (b) | A small factory's energy use profile shows a peak load of 150 kW between 9 AM and 11 AM. The factory's average load for the rest of the day is 80 kW. The utility charges a peak-hour tariff of ₹10/kWh and an off-peak tariff of ₹6/kWh. Propose a DSM strategy to reduce the peak load to 100 kW by shifting a portion of the load to off-peak hours. Calculate the daily savings in electricity cost with the proposed strategy. |  | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Discuss the impact and calculation of different tariff structures on industrial load profiles. | Understand | 4 | 8M |
|  |  | (b) |  | Explain the techniques of Demand Side Management (DSM) with neat diagrams. | Understand | 5 | 6M |
| 8 |  | (a) |  | Describe the methods used in energy economic analysis including cash flow and depreciation. | Understand | 6 | 8M |
|  |  | (b) |  | Discuss the current energy situation in India, including the primary sources of energy consumption and the need for energy conservation. | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | Describe how depreciation, taxes, and tax credits are incorporated into the financial evaluation of an energy-efficient project. Explain their impact on the project's profitability. | Understand | 6 | 8M |
|  | (b) |  |  | Explain the elements of energy audit. | Understand | 5 | 6M |

***********