SEMESTER END REGULAR EXAMINATIONS (AR21), July – 2026

| P.G. | M.Tech. |  | Degree | Master of Technology |  |
| --- | --- | --- | --- | --- | --- |
| Academic Year | 2025-26 |  | Sem. | 2nd Semester |  |
| Course Code | 21PID201 | Course Title |  |  |  |
|  |  | ELECTRICAL MACHINE MODELING AND ANALYSIS |  |  |  |
| Duration | 3 Hours | Maximum Marks |  |  | 70 (SEVENTY) |

SECTION-I

7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | COs |
| --- | --- | --- | --- |
| a | State the fundamental principle of electro-magnetic energy conversion | Remember | 1 |
| b | Differentiate briefly between statically induced EMF and dynamically induced EMF based on Faraday's law. | Understand | 1 |
| c | Draw the torque speed characteristic of induction machine in dqo system | Understand | 3 |
| d | What is the physical objective of the Clarke transformation (transforming from three-phase to two-phase) | Understand | 3 |
| e | List the three primary reference frames used to model an induction machine in the d-q platform. | Remember | 4 |
| f | Why do the inductances in the phase co-ordinate model of a synchronous machine vary with the rotor position | Understand | 4 |
| g | Write the advantages of modelling in dqo system | Remember | 6 |

SECTION-II

4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | COs | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | Write the conditions to represent any machine by using two pole machine representation with one machine as an example | Understand | 1 | 8M |
|  |  | (b) |  | Discuss importance of Generalized Machine theory supports a primitive 2-axis machine. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Derive the expression for the Electro-magnetic energy conversion in magnetic field. | Understand | 1 | 8M |
|  |  | (b) |  | Model any machine represented by the kron’s primitive machine and write the voltage equations. | Understand | 2 | 6M |
| 4 |  | (a) |  | Obtain the transfer function of a separately excited DC motor. | Analyze | 3 | 8M |
|  |  | (b) |  | For any two conditions perform the transient analysis of a DC machine. | Analyze | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Obtain the mathematical model of a DC shunt motor. |  | Analyze | 3 | 8M |
|  |  | (b) | Explain the performance of DC machine for sudden application of inertial load. |  | Analyze | 2 | 6M |
| 6 |  | (a) | Explain Park's Transformation for converting stationary reference frame variables into synchronously rotating reference frame variables (d, q, 0) |  | Analyze | 4 | 8M |
|  |  | (b) | Draw the equivalent circuit of an Induction machine referred to primary side. |  | Analyze | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Compare the of 3-φ induction motor modelled in actual plat form and dqo reference frame. | Analyze | 4 | 8M |
|  |  | (b) |  | Develop the mathematical expression for electromagnetic torque and power of an 3 phase Induction machine in terms of d-q variables. | Analyze | 5 | 6M |
| 8 |  | (a) |  | Transform the synchronous machine variables into the rotor reference frame and write the resulting d-q-0. | Understand | 6 | 8M |
|  |  | (b) |  | Explain about the reference frame theory and develop the equivalent circuit of induction machine in any one reference frame. | Analyze | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | Derive the expression for inductances of a salient pole synchronous machine in dqo model. | Understand | 6 | 8M |
|  | (b) |  |  | Derive the mathematical model pf PM synchronous machine | Analyze | 5 | 6M |

***********