SEMESTER END SUPPLEMENTARY EXAMINATIONS (AR21), May – 2026

| U.G. | Mechanical Engineering |  | Degree | Bachelor of Technology |  |
| --- | --- | --- | --- | --- | --- |
| Academic Year | 2026-27 |  | Sem. | 8th |  |
| Course Code | 21ME017 | Course Title |  |  |  |
|  |  | POWER PLANT ENGINEERING |  |  |  |
| Duration | 3 Hours | Maximum Marks |  |  | 70 (SEVENTY) |

SECTION-I

7 x 2 = 14 Marks

1.

| No. | Questions (a to g) | RBT Level | COs |
| --- | --- | --- | --- |
| a | Name any two ash handling systems. | Remember | 1 |
| b | Define the process of FBC. | Remember | 1 |
| c | List out the advantages of hydroelectric power plants. | Remember | 3 |
| d | Define open cycle MHD generation. | Remember | 3 |
| e | Compare nuclear fission with nuclear fusion process. | Understand | 4 |
| f | Name any 2 moderators used in nuclear power plant. | Remember | 4 |
| g | Define Demand factor. | Remember | 6 |

SECTION-II

4 x 14 = 56 Marks

| No. |  | Questions (2 to 9) |  |  | RBT Level | COs | Marks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 |  | (a) |  | Explain any one ash handling system with its advantages and disadvantages. | Understand | 1 | 8M |
|  |  | (b) |  | Discuss the various methods used for supercharging the diesel Engines and its importance. | Understand | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 3 |  | (a) |  | Explain the working of a Spreader stoker with its advantages and disadvantages. | Understand | 1 | 8M |
|  |  | (b) |  | Describe with a neat diagram a closed cycle gas turbine. State also its merits and demerits. | Understand | 2 | 6M |
| 4 |  | (a) |  | Discuss any two types of surge tanks. | Understand | 3 | 8M |
|  |  | (b) |  | The following readings were taken during the test of a single cylinder four stroke oil engine: Cylinder diameter = 250 mm, Stroke length = 400 mm, Gross m.e.p. = 7 bar, Pumping m.e.p. = 0.5 bar, Engine speed = 250 r.p.m., Net load on the brake = 1080 N Effective diameter of the brake = 1.5 metres, Fuel used per hour = 10 kg, Calorific value of fuel = 44300 kJ/kg, Calculate : (i) Indicated power ; (ii) Brake power ; (iii) Mechanical efficiency. | Apply | 2 | 6M |
| OR |  |  |  |  |  |  |  |
| 5 |  | (a) | Compare HAWT with VAWT. |  | Understand | 3 | 8M |
|  |  | (b) | Discuss the advantages and disadvantages of gas turbine power plants over diesel power plants. |  | Understand | 2 | 6M |
| 6 |  | (a) | Explain with help of neat diagram the construction and working of a nuclear power plant |  | Understand | 4 | 8M |
|  |  | (b) | Discuss any 3 gaseous pollutants emitted from thermal power plants. |  | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 7 |  | (a) |  | Describe with the help of a neat sketch the construction working of a Pressurised Water Reactor. | Understand | 4 | 8M |
|  |  | (b) |  | Explain the following: (i) Smoke, (ii) Fumes, (iii) Cinders. | Understand | 5 | 6M |
| 8 |  | (a) |  | Explain briefly the following: (i) Capital or fixed cost (ii) Operational cost. | Understand | 6 | 8M |
|  |  | (b) |  | Explain briefly various methods of reducing the thermal pollution | Understand | 5 | 6M |
| OR |  |  |  |  |  |  |  |
| 9 | (a) |  |  | The yearly duration curve of a certain plant can be considered as a straight line from 300 MW to 80 MW. Power is supplied with one generating unit of 200 MW capacity and two units of 100 MW capacity each. Determine: (i) Installed capacity (ii) Load factor (iii) Plant factor (iv) Utilization factor. | Apply | 6 | 8M |
|  | (b) |  |  | Discuss about the Nox emissions from power plants and how it can be reduced. | Understand | 5 | 6M |

***********